## Slide 1: <SENSORS>
<Exploring the Key Components of IoT Systems>
<By Purushottam Mahajan se a 74>

## Slide 2: What are Sensors?
Sensors are devices or components that detect and measure physical phenomena or environmental conditions and convert them into electrical signals or digital data. They are fundamental components of various electronic systems and play a crucial role in collecting real-world data for monitoring, control, and automation purposes.
Sensors are devices or components that detect and measure physical phenomena or environmental conditions and convert them into electrical signals or digital data. They are fundamental components of various electronic systems and play a crucial role in collecting real-world data for monitoring, control, and automation purposes.
Sensors are devices or components that detect and measure physical phenomena or environmental conditions and convert them into electrical signals or digital data. They are fundamental components of various electronic systems and play a crucial role in collecting real-world data for monitoring, control, and automation purposes.

## Slide 3: Working of sensors
Detection Stage:
  At the detection stage, the sensor interacts with the physical environment to sense changes in a specific parameter or phenomenon. This interaction can occur through various mechanisms depending on the type of sensor and the target parameter.
  For example, a temperature sensor may contain a thermistor, a type of resistor whose resistance changes with temperature. This change in resistance is then detected as a change in the electrical properties of the sensor.
Transduction Stage:
  Once the sensor has detected a change in the target parameter, it undergoes transduction, converting the detected signal into an electrical or digital form that can be processed by electronic devices.
  For digital sensors, the transduction stage may involve converting the detected signal directly into binary data (0s and 1s) using digital encoding techniques.

## Slide 4: Working of sensors
Output Stage:
  The output stage of the sensor involves transmitting the converted signal to an electronic device for further processing and interpretation. This stage may include amplification, filtering, or conditioning of the signal to improve its quality and reliability.
  Analog sensors typically produce output signals that vary continuously over a range, such as voltage or current. These signals may require additional processing, such as amplification or filtering, before being used by electronic devices.
  Digital sensors produce output signals in the form of binary data (0s and 1s) that can be directly processed by digital systems without the need for additional conversion.

## Slide 5: Types of sensors
  Temperature sensors
  Humidity sensors
  Light sensors
  Motion sensors
  Proximity sensors
  Gas sensors
  Pressure sensors
  Accelerometers
  Gyroscopes
  GPS modules

## Slide 6: Temperature sensors
  Temperature Sensors are another very common type of sensor – they are all around us.
  Temperature sensors are used to measure and monitor temperature, whether this is the
  main variable requiring measuring or a secondary variable which requires monitoring as
  a safety precaution within another application.
  Different types of temperature sensors will require different approvals. Medical
  approvals will be required for temperatures used for patient monitoring or within medical
  devices. Other certifications will be required for temperature sensors in food and
  beverage applications.

## Slide 7: light sensors
  Light sensors, also known as photodetectors, are sensors that detect the presence, absence, or intensity of light in their surroundings. These sensors play a crucial role in various applications, including automatic lighting control, security systems, photography, and industrial automation.
  Light sensors come in various forms, including ambient light sensors, which measure overall light levels in the environment, and proximity sensors, which detect the presence of objects based on reflected or emitted light.
  Some light sensors are designed to operate in specific wavelength ranges, such as ultraviolet (UV) sensors for detecting UV light or infrared (IR) sensors for detecting IR radiation.

## Slide 8: pressure sensors
  Pressure sensors are often split into the following two categories; Pressure transducers and pressure switches. The main difference is that pressure transducers give accurate feedback on real-time pressure and pressure switches have a set limit which causes them to switch. Both pressure switches and pressure transducers have mechanisms which use the formula – Pressure = force divided by area to detect pressure.
  Pressure sensors can measure the pressure in gases, liquids or solids and are used in a variety of industries. Underwater pressure transducers are referred to as level meters as the pressure they measure is directly related to the level of the water.
  Pressure can be gauge, differential, absolute or vacuum and can be measured in Bar or PSI.

## Slide 9: Proximity sensors
  Proximity sensors are devices that detect the presence or absence of an object within a certain distance from the sensor without any physical contact. These sensors play a crucial role in various applications, including robotics, industrial automation, consumer electronics, and automotive systems.
  Proximity sensors detect the presence or absence of objects within a certain distance from the sensor using electromagnetic, capacitive, ultrasonic, or optical detection methods. They convert the detected signal into an electrical output that can be processed and interpreted by electronic devices, making them essential components in a wide range of applications.

## Slide 10: THANK YOU !